UDP6900 DC power supply firmware upgrade guide

- Select the upgrade file according to the model and put it in the root directory of the FAT32 format U disk (the file name cannot be modified);

- Insert the USB flash drive into the machine to be upgraded (power off);

- At the same time press "Home","On/Off", power switch three keys, turn on the power, start upgrading;

- The instrument will automatically reboot when the upgrade is complete. Check the system information to confirm that the version upgrade is successful.